## Slide 1: STM-Based DAQ
Automation Solutions

## Slide 2: Outline
Presentation 2 Flow:
Report 2 Summary: Michael
STM Progress: Cooper
SCC Progress: Michael
Software Progress: Arsh
Car Progress: Jack
Future Development: Cooper
Presenting to MBA's that are funding project – keep it simple – focus on features not specs
Do we need all these detailed feature reqs or can we simplify?

## Slide 3: The Problem
Old DAQ System
ME 4056’s DAQ System has high-cost (~$3000)
Currently being phased out by NI

## Slide 4: Our Project
Develop Data Acquisition System Compatible with Current ME 4056 Experimental Setup and with Cloud based GUI. Verify system with function generator and physical system (RC Car).​
Old DAQ
New DAQ
($3000)
($300)

## Slide 5: Subsystems
Microcontroller

## Slide 6: Subsystems
Microcontroller
Interface Board

## Slide 7: Subsystems
Microcontroller
Interface Board
Cloud GUI

## Slide 8: Subsystems
Microcontroller
Interface Board
Cloud GUI
Test Bed (F1tenth)

## Slide 9: Microcontroller Requirements
10x Analog inputs
8x Digital inputs
2x I2C channels
2x Digital Frequency Monitors
2x PWM output channels
2x Function generator channels
Communicate to cloud via USB
Notes: Digital frequency detection

## Slide 10: Interface Board Requirements
Easy DAQ interface
Protect against controller overvoltage
Protect against controller overcurrent
Remove background noise

## Slide 11: Cloud GUI Requirements
Collect, Store, & Visualize data from DAQ
Facilitate Communication between User and DAQ
Intuitive Interface to modify visualizations, creating adaptable dashboards for the labs

## Slide 12: Validation Requirements
Simulate all potential inputs/outputs
  Analog, digital, I2C, PWM, function generator
Simulate lab experiments
  Optimize lap time
Portable testbench

## Slide 13: Microcontroller

## Slide 14: STM Software Progress
Achievements to date
RTOS
  Multi-Threading
ADC
  Analog-to-Digital-Conversion with DMA
Cross-Core Communication
  Can send information from M4 to M7
Output Peripherals Tests
UART Communication Tests

## Slide 15: M4 State Diagram

## Slide 16: M7 State Diagram

## Slide 17: HSEM Cross Core Communication – High-Level

## Slide 18: Microcontroller: Next Steps
Complete M4 Digital I/O Collection and Cross Core Communication
Complete M7 ADC to Optimal Sampling Speed
Implement M7 Peripheral Code
Setup RTOS for Data Sending/Receiving Data

## Slide 19: Interface Boards

## Slide 20: 0-3.3V Input Range
Notes: Main goal is to protect the STM with incoming signals and mechanically with case and easier inputs
BNC for easy connection
Voltage and current protection
Noise reduction
Shows boards and case

## Slide 21: -10 to 10V Input Range

## Slide 30: Interface Boards: Next Steps
Complete Signal Processing Board
Debug if Necessary
Test and Record Capabilities

## Slide 31: Cloud GUI
Notes: -Live Plotting -User Interface -Selection of Pin Offsets -Dashboarding (Moveable /Creatable Graphs, Selectable Axes, Saveable Configs)
-Send User Inputs back to DAQ

## Slide 32: Implemented Features

## Slide 33
Interactive Analog & Digital Sensor
Plots that update in
Real-Time
Notes: Make this live

## Slide 34: Live Plotting
Live Plots
Microcontroller
UART (Serial USB)
Database

## Slide 35: Live Plotting
Live Plots
Microcontroller
UART (Serial USB)
Database
Instructors Can Verify Authenticity

## Slide 36: User Interface
Users Can Easily Select Desired Sensors
& Set Analog Gain/Offsets for Calibration

## Slide 37: Powerful Dashboarding
Fully Customizable Graph Layouts (Size, Placement, and Number)

## Slide 38
Selectable Plotting Axes for each Graph
  Sensor vs. Sensor or Sensor vs. Time

## Slide 39
Save Dashboard Configs
  Allows Instructors to easily create & distribute dashboards for each specific lab

## Slide 40: Communication to DAQ
Users Can Also Communicate PWM, DAC, DI Settings to the DAQ

## Slide 41: Testing

## Slide 42: Final Design Characterization

## Slide 43: Analog

## Slide 44: Potential Strain Gauge Circuitry
Difference Amplifier

## Slide 45: Overall Test Bed
4 Digital Input Pins
  Force Transducers
2 Analog Input Pins
  Temperature Sensors
1 I2C
  IMU
1 Digital or Analog Output
  Fan Speed Control
3 Digital Inputs
  Encoder PWM Input
  Steering PWM Input
  Throttle PWM Input

## Slide 47: Validation: Next Steps
Install DAQ
Test

## Slide 48: Future Developments
Microcontroller
  Using I/O Port Expander so that Digital Input Pins can be used with DMA
Hardware
  Using a 4+ Layer PCB to reduce vias and size
  Adding in a Breaker for Additional MCU Protection
Software
  Full Integration of Docker Containers with Cloud with the Database
  User Selection & Authentication
  Facilitate simultaneous users on the cloud
Validation
  Integration with existing ME Lab Setups